## Hybrid
HYBRID SYSTEM — PRICING REFERENCE
Single-phase Sungrow hybrid inverter + Pylontech LiFePO4 battery, no net metering
Monthly Consumption (kWh) | Monthly Cost (₱) | Recommended PV (kWp) | Recommended Battery (kWh) | % Coverage | Price / SRP (₱) | Price per kWp (₱/kWp) | Savings (₱/yr) | ROI (years)
300 | 4650 | 3.9 | 10.24 | 100% | 369818.1818 | 94825.1748 | 55800 | 6.6276
400 | 6200 | 4.55 | 10.24 | 100% | 385090.9091 | 84635.3646 | 74400 | 5.176
500 | 7750 | 6.5 | 16 | 100% | 505454.5455 | 77762.2378 | 93000 | 5.435
600 | 9300 | 6.5 | 16 | 100% | 505454.5455 | 77762.2378 | 111600 | 4.5292
700 | 10850 | 7.15 | 16 | 100% | 520727.2727 | 72828.9892 | 130200 | 3.9994
750 | 11625 | 8.45 | 21.12 | 100% | 654909.0909 | 77504.0344 | 139500 | 4.6947
800 | 12400 | 9.1 | 21.12 | 100% | 670181.8182 | 73646.3536 | 148800 | 4.5039
850 | 13175 | 9.1 | 21.12 | 100% | 670181.8182 | 73646.3536 | 158100 | 4.239
900 | 13950 | 9.1 | 21.12 | 100% | 670181.8182 | 73646.3536 | 167400 | 4.0035
950 | 14725 | 9.1 | 21.12 | 100% | 670181.8182 | 73646.3536 | 176700 | 3.7928
1000 | 15500 | 11.05 | 26.24 | 100% | 803272.7273 | 72694.3645 | 186000 | 4.3187
1050 | 16275 | 11.05 | 26.24 | 100% | 803272.7273 | 72694.3645 | 195300 | 4.113
1100 | 17050 | 11.05 | 26.24 | 100% | 803272.7273 | 72694.3645 | 204600 | 3.9261
1150 | 17825 | 11.7 | 26.24 | 100% | 818545.4545 | 69961.15 | 213900 | 3.8268
1200 | 18600 | 13 | 32 | 100% | 1056363.6364 | 81258.7413 | 223200 | 4.7328
1250 | 19375 | 13 | 32 | 100% | 1056363.6364 | 81258.7413 | 232500 | 4.5435
1300 | 20150 | 13.65 | 32 | 100% | 1071636.3636 | 78508.1585 | 241800 | 4.4319
1350 | 20925 | 13.65 | 32 | 100% | 1071636.3636 | 78508.1585 | 251100 | 4.2678
1400 | 21700 | 13.65 | 32 | 100% | 1071636.3636 | 78508.1585 | 260400 | 4.1153
1450 | 22475 | 15.6 | 37.12 | 100% | 1190181.8182 | 76293.7063 | 269700 | 4.413
1500 | 23250 | 15.6 | 37.12 | 100% | 1190181.8182 | 76293.7063 | 279000 | 4.2659
1550 | 24025 | 15.6 | 37.12 | 100% | 1190181.8182 | 76293.7063 | 288300 | 4.1283
1600 | 24800 | 16.25 | 37.12 | 100% | 1205454.5455 | 74181.8182 | 297600 | 4.0506
1650 | 25575 | 16.25 | 37.12 | 100% | 1205454.5455 | 74181.8182 | 306900 | 3.9278
1700 | 26350 | 17.55 | 42.24 | 100% | 1308727.2727 | 74571.3546 | 316200 | 4.1389
1750 | 27125 | 17.55 | 42.24 | 100% | 1308727.2727 | 74571.3546 | 325500 | 4.0207
1800 | 27900 | 18.2 | 42.24 | 100% | 1324000 | 72747.2527 | 334800 | 3.9546
1850 | 28675 | 18.2 | 42.24 | 100% | 1324000 | 72747.2527 | 344100 | 3.8477
1900 | 29450 | 18.2 | 42.24 | 100% | 1324000 | 72747.2527 | 353400 | 3.7465
1950 | 30225 | 20.15 | 48 | 100% | 1413454.5455 | 70146.6276 | 362700 | 3.897
2000 | 31000 | 20.15 | 48 | 100% | 1413454.5455 | 70146.6276 | 372000 | 3.7996

## Ongrid
ONGRID SYSTEM (NO NET METERING) — PRICING REFERENCE
Deye single-phase grid-tie inverter, no battery, no export — sized to daytime load only (zero-export / SGF-ZESS style)
Monthly Consumption (kWh) | Monthly Cost (₱) | Recommended PV (kWp) | % Coverage | Price / SRP (₱) | Price per kWp (₱/kWp) | Savings (₱/yr) | ROI (years)
300 | 4650 | 1.3 | 40% | 88727.2727 | 68251.7483 | 22320 | 3.9752
400 | 6200 | 1.95 | 40% | 104000 | 53333.3333 | 29760 | 3.4946
500 | 7750 | 1.95 | 40% | 104000 | 53333.3333 | 37200 | 2.7957
600 | 9300 | 2.6 | 40% | 119272.7273 | 45874.1259 | 44640 | 2.6719
700 | 10850 | 3.25 | 40% | 134545.4545 | 41398.6014 | 52080 | 2.5834
750 | 11625 | 3.25 | 40% | 134545.4545 | 41398.6014 | 55800 | 2.4112
800 | 12400 | 3.25 | 40% | 134545.4545 | 41398.6014 | 59520 | 2.2605
850 | 13175 | 3.25 | 40% | 134545.4545 | 41398.6014 | 63240 | 2.1275
900 | 13950 | 3.9 | 40% | 166181.8182 | 42610.7226 | 66960 | 2.4818
950 | 14725 | 3.9 | 40% | 166181.8182 | 42610.7226 | 70680 | 2.3512
1000 | 15500 | 3.9 | 40% | 166181.8182 | 42610.7226 | 74400 | 2.2336
1050 | 16275 | 4.55 | 40% | 181454.5455 | 39880.1199 | 78120 | 2.3228
1100 | 17050 | 4.55 | 40% | 181454.5455 | 39880.1199 | 81840 | 2.2172
1150 | 17825 | 4.55 | 40% | 181454.5455 | 39880.1199 | 85560 | 2.1208
1200 | 18600 | 5.2 | 40% | 196727.2727 | 37832.1678 | 89280 | 2.2035
1250 | 19375 | 5.2 | 40% | 196727.2727 | 37832.1678 | 93000 | 2.1153
1300 | 20150 | 5.2 | 40% | 196727.2727 | 37832.1678 | 96720 | 2.034
1350 | 20925 | 5.2 | 40% | 196727.2727 | 37832.1678 | 100440 | 1.9587
1400 | 21700 | 5.85 | 40% | 212000 | 36239.3162 | 104160 | 2.0353
1450 | 22475 | 5.85 | 40% | 212000 | 36239.3162 | 107880 | 1.9651
1500 | 23250 | 5.85 | 40% | 212000 | 36239.3162 | 111600 | 1.8996
1550 | 24025 | 6.5 | 40% | 232727.2727 | 35804.1958 | 115320 | 2.0181
1600 | 24800 | 6.5 | 40% | 232727.2727 | 35804.1958 | 119040 | 1.955
1650 | 25575 | 6.5 | 40% | 232727.2727 | 35804.1958 | 122760 | 1.8958
1700 | 26350 | 6.5 | 40% | 232727.2727 | 35804.1958 | 126480 | 1.84
1750 | 27125 | 7.15 | 40% | 248000 | 34685.3147 | 130200 | 1.9048
1800 | 27900 | 7.15 | 40% | 248000 | 34685.3147 | 133920 | 1.8519
1850 | 28675 | 7.15 | 40% | 248000 | 34685.3147 | 137640 | 1.8018
1900 | 29450 | 7.8 | 40% | 263272.7273 | 33752.9138 | 141360 | 1.8624
1950 | 30225 | 7.8 | 40% | 263272.7273 | 33752.9138 | 145080 | 1.8147
2000 | 31000 | 7.8 | 40% | 263272.7273 | 33752.9138 | 148800 | 1.7693

## Ongrid w Net Metering
ONGRID SYSTEM W/ NET METERING — PRICING REFERENCE
Deye single-phase grid-tie inverter, no battery, sized to ~100% of consumption; export credited at ₱7.00/kWh
Monthly Consumption (kWh) | Monthly Cost (₱) | Recommended PV (kWp) | % Coverage | Price / SRP (₱) | Price per kWp (₱/kWp) | Savings (₱/yr) | ROI (years)
300 | 4650 | 3.25 | 100% | 200000 | 61538.4615 | 59265 | 3.3747
400 | 6200 | 3.9 | 100% | 231636.3636 | 59393.9394 | 75198 | 3.0804
500 | 7750 | 5.2 | 100% | 262181.8182 | 50419.5804 | 96864 | 2.7067
600 | 9300 | 5.85 | 100% | 277454.5455 | 47428.1274 | 112797 | 2.4598
700 | 10850 | 7.15 | 100% | 313454.5455 | 43839.7966 | 134463 | 2.3312
750 | 11625 | 7.15 | 100% | 313454.5455 | 43839.7966 | 139563 | 2.246
800 | 12400 | 7.8 | 100% | 328727.2727 | 42144.5221 | 150396 | 2.1857
850 | 13175 | 8.45 | 100% | 356727.2727 | 42216.2453 | 161229 | 2.2126
900 | 13950 | 9.1 | 100% | 372000 | 40879.1209 | 172062 | 2.162
950 | 14725 | 9.1 | 100% | 372000 | 40879.1209 | 177162 | 2.0998
1000 | 15500 | 9.75 | 100% | 387272.7273 | 39720.2797 | 187995 | 2.06
1050 | 16275 | 10.4 | 100% | 466181.8182 | 44825.1748 | 198828 | 2.3446
1100 | 17050 | 11.05 | 100% | 481454.5455 | 43570.5471 | 209661 | 2.2963
1150 | 17825 | 11.05 | 100% | 481454.5455 | 43570.5471 | 214761 | 2.2418
1200 | 18600 | 11.7 | 100% | 496727.2727 | 42455.3225 | 225594 | 2.2019
1250 | 19375 | 12.35 | 100% | 512000 | 41457.4899 | 236427 | 2.1656
1300 | 20150 | 13 | 100% | 527272.7273 | 40559.4406 | 247260 | 2.1325
1350 | 20925 | 13 | 100% | 527272.7273 | 40559.4406 | 252360 | 2.0894
1400 | 21700 | 13.65 | 100% | 542545.4545 | 39746.9197 | 263193 | 2.0614
1450 | 22475 | 14.3 | 100% | 557818.1818 | 39008.2645 | 274026 | 2.0356
1500 | 23250 | 14.3 | 100% | 557818.1818 | 39008.2645 | 279126 | 1.9984
1550 | 24025 | 14.95 | 100% | 573090.9091 | 38333.8401 | 289959 | 1.9765
1600 | 24800 | 15.6 | 100% | 588363.6364 | 37715.6177 | 300792 | 1.956
1650 | 25575 | 16.25 | 100% | 603636.3636 | 37146.8531 | 311625 | 1.9371
1700 | 26350 | 16.25 | 100% | 603636.3636 | 37146.8531 | 316725 | 1.9059
1750 | 27125 | 16.9 | 100% | 618909.0909 | 36621.8397 | 327558 | 1.8895
1800 | 27900 | 17.55 | 100% | 634181.8182 | 36135.7161 | 338391 | 1.8741
1850 | 28675 | 18.2 | 100% | 649454.5455 | 35684.3157 | 349224 | 1.8597
1900 | 29450 | 18.2 | 100% | 649454.5455 | 35684.3157 | 354324 | 1.8329
1950 | 30225 | 18.85 | 100% | 664727.2727 | 35264.0463 | 365157 | 1.8204
2000 | 31000 | 19.5 | 100% | 680000 | 34871.7949 | 375990 | 1.8086

## Notes & Assumptions
PRICING REFERENCE — METHODOLOGY & ASSUMPTIONS
Sizing assumptions:
- Peak sun hours (PSH): 3.5 hrs/day, applied straight (no additional PV system derate on top)
- Battery depth of discharge (DoD): 90%
- Panel: LonGi Hi-MO X10 650W, ₱6,400/pc
- Day/night load split: 40% daytime / 60% nighttime
- Retail electricity rate: ₱15.50/kWh (Meralco, updated 2026-09 — was ₱13.47)
- Net-metering export credit: ₱7.00/kWh (blended generation charge, per PH_Solar_Market_Reference_2026-05.md, ~₱6.80-7.20 range)
Equipment (single-phase):
- Hybrid inverter: Sungrow MG6RL/MG8RL/MG10RL/MG12RL (6/8/10/12kW) — ₱48,000 / ₱65,000 / ₱82,000 / ₱90,000
- Grid-tie inverter: Deye 3.6/6/8/10kW — ₱16,000 / ₱25,000 / ₱28,000 / ₱35,000
- Battery: Pylontech FIDUS Plus 16kWh (₱104,000) and FIDUS 5.12kWh (₱40,000), cheapest combo meeting requirement
- Systems requiring more than the largest single inverter (12kW hybrid / 10kW grid-tie) stack multiple units of that size
Hybrid sizing logic (steady-state, day-over-day simulated to equilibrium — not a fresh-empty single-day snapshot):
- Battery usable capacity is sized to match nightly load (~100% battery utilization each night)
- PV is sized so daily surplus after daytime load fully recharges the battery bank daily (0 curtailment target, satisfies multi-battery full-recharge rule)
- Panel/battery counts are rounded up to the nearest whole unit, so a small amount of residual waste/rounding is normal
Ongrid (no net metering) sizing logic:
- No battery, no export credit — PV sized to daytime load only so there is ~zero wasted excess (own-use / zero-export style, consistent with DOE Circular DC2026-08-0017 SGF-ZESS treatment)
- Coverage % = daytime solar used in real time ÷ total monthly consumption
Ongrid w/ net metering sizing logic:
- PV sized to ~100% of average monthly consumption
- Savings = (kWh offset against consumption × ₱13.47) + (kWh exported beyond consumption × ₱7.00)
- Adds Meralco NM application fee (₱30,000) and ATS 100A (₱6,000) vs the no-NM ongrid build
Pricing:
- Material cost = panels + BOS (mounting/DC+AC wiring/protection/monitoring/misc) + inverter + (battery + cable + ATS, hybrid only) + (NM fee + ATS, net-metered ongrid only)
- BOS modeled as ₱16,000 fixed + ₱2,000/panel, calibrated against Horizon's existing Sales Package Pricing Reference SRPs (validated within ~4%)
- SRP (sell price) = Material Cost ÷ 0.55 (55% gross margin basis, per standing BOM Pricing Discipline)
- 'Savings' shown is annual (₱/yr); ROI = Price ÷ Annual Savings, in years
- 'Price per kWp' = Price / SRP ÷ Recommended PV (kWp) — declines with system size because fixed costs (BOS base, inverter step-costs, NM fees) spread over more panels.
Reference range: Hybrid ₱70K-95K/kWp, Ongrid (no NM) ₱34K-68K/kWp, Ongrid w/ NM ₱35K-62K/kWp across the 300-2000 kWh tiers — compare against the
PH_Solar_Market_Reference_2026-05.md benchmark of ₱45K-65K/kWp (residential) and ₱20K-30K/kWp (commercial ≥20kWp, ≥20kW installs).
Source files: Solar BOM Template.xlsx, Sales Package Pricing Reference.xlsx (Unit Cost Reference sheet), PH_Solar_Market_Reference_2026-05.md
This is an internal planning/reference tool for quick lookups by consumption level — always re-verify against an actual BOM and site assessment before issuing a client proposal.